## Slide 1: PAKISTAN HYDRO POWER SECTOR PROSPECTS, CHALLANGES & FUTURE Intl. Virtual Conference DR. MUNAWAR IQBAL DIRECTOR (Hydropower) Private Power and Infrastructure Board Ministry of Energy (Power Division)
25 AUGUST 2020

## Slide 2
24736 MW
21125 MW
6450 MW
7291 MW
193 MW
1 MW
HYDROPOWER POTENTIAL
Total
=59796 MW

## Slide 3
Hydropower Potential - River
Chart: 
| Indus | Jhelum | Swat | Kunhar | Punch | others | Kandiah
 | 39717 | 5624 | 1803 | 1480 | 462 | 9704 | 1006
Total
=59796 MW
Say (60000 MW)

## Slide 4: GRID AS OF NOW
Chart: Power Sector Installed Capacity 39,145 MW:
| Oil | Coal | Gas/RLNG | Wind | Solar | Biomass | SHPPs | Hydro | Nuclear | KEL/Thermal
 | 17.9 | 12.6 | 29.5 | 3.1 | 1.1 | 0.7 | 0.3 | 24.8 | 3.9 | 6
Wind 3%
Biomass 0.7%
Solar 1%
SHPP 0.3%

## Slide 5: HYDROPWER PROVINCE WISE STATUS
Chart: 
Operation | 2366.75 | 5791.4 | 1804.06
Development | 2851.57 | 5753 | 1100.4
AJ&K
KPK
Punjab
MW
MW

## Slide 6: HYDROPOWER ENTITIES WISE STATUS
Chart: 
| WAPDA | PPIB | PEDO | PPDB | PDO-AJ&K
 | 0 | 8420 | 333 | 165 | 10 | 70
 | 0 | 3300 | 6448 | 4070 | 380 | 386
Development
MW
9389MW
3300 MW
333 MW
6446 MW
3070 MW
165 MW
380 MW
386 MW
70 MW
450 MW
390 MW
4135MW
6779 MW
Operation
12689 MW

## Slide 7
LOCATION OF HPPs
ON JEHLUM RIVER
Jhelum River
Mangla
Jhelum River
Neelum River
1124 MW Kohala
Neelum Jhelum HPP
PH
Kohala Bridge
Muzaffarabad
Dam
Siran Village
N
Murree
Garhi
Habibullah
Kunhar River
Hattian Town
17 km
Barsala
640 MW Mahl HPP
700 MW Azad Pattan HPP
720 MW Karot HPP
500 MW Chakothi Hattian HPP
PUNJAB
Khyber Pakhtunkhwa
AJ&K
147 MW Patrind HPP
Chakothi
Mahl River
7
Notes: 7

## Slide 8
Khyber Pakhtunkhwa
INDIAN OCCUPIED KASHMIR
ATHMUQAM
Kundal Shahi
Dudhnial
Sharda
Nara
Kaghan
Halmat
Toabat
Janawai
Jagran
Panjgran
TITHWAL
Dudhnial HPP
Athmuqam
HPP
Ashkot HPP
NEELUM RIVER
NEELUM RIVER
AJ&K
KUNHAR RIVER
NEELUM VALLEY- MAJOR HYDEL SCHEMES
Legend
N-J HPP
Dudhnial 960 MW Athmuqam 350 MW Ashkot 300 MW N-J 969 MW Total= 2579 MW

## Slide 9
Gulpur
KOTLI
TATA PANI
KOTLI HPP
Gulpur HPP
Rajdhani HPP
Sehra HPP
MANGLA
PROJECTS ON POONCH RIVER IN AJK
SEHRA 130 MW KOTLI 100 MW GLPUR 100 MW RAJDHANI 132 MW Total= 462 MW

## Slide 10
Allai Khwar
Muzaffarabad
Mansehra
96 MW
Batta Kundi HPP
188 MW
Naran HPP
870 MW
Suki Kinari HPP
300 MW
Balakot HPP
Balkot
Naran
Kaghan
Paras
147 MW
Patrind HPP
PROJECTS ON
KUNHAR RIVER IN KP
Bata Kundi 96 MW Naran 188 MW Suki Kinari 870 MW Balakot 300 MW Patrind 147 MW Total= 1601 MW

## Slide 11: HYDROPOPWER IDENTIFIED HPP POTENTIAL
Chart: Development of HPP Potential of 60,000 MW
| Operatational | Construction | Committed | Remaining
 | 10095.38 | 7269.82 | 11386.69 | 31248.11
67%
8%
8%
17%

## Slide 12: HYDROPOPWER PROSPECTS
  Fiscal and Financial Incentives
  Hydrological Risk Coverage
  Sovereign Guarantee
  Tri Partite Letter of Support Regime (a bridge b/w province and Federal levels)
  Three Stage Tariff Mechanism
  Indigenous, Renewable and Reliable for Peaking Operations
  Well Tested Security Package
  Confidence of Lenders and Investors:
    Major Lenders: IFC_WB, ADB, IsDB, ICBC, CDB, K-EXIM
    Major Sponsors: CTG_CSAIL, CGGC, HUBCO, K-WATER, KOEN, KHNP,
  Socio-Economic Uplift of Remote Areas plus WUC to provinces
  Much Better Per MW-Output Based CAPEX than other RE Technologies

## Slide 13
HYDROPOWER
CHALLENGES
  Per MW Installed Capacity CAPEX Higher than Other Technologies
  Placement in Indicative Generation Capacity Expansion (IGCEP)
  Financing Issues from World Bank and ADB etc. (some Areas)
  Environmental Related Compliances
  Land Acquisition (Gen. Projects as well as T/Lines)
  Provincial Projects when initiated remained out of radar of Federal entities (i.e. CPPAG-NTDC)
  Synchronization of Projects development in each Valley to meet T/Line capacities
  Non Availability of Power Policy for Gilgit Baltistan
  Non Connectivity of National Grid with Gilgit Baltistan Region
Notes: 13
13

## Slide 14
BACK
B a l o c h i s t a n
P u n j a b
S i n d h
Neelum R.
Jhelum R.
Poonch R.
TRANSMISSION
CHALLENGE
2000 MW
3000 MW
1600 MW
2500 MW
22000 MW
3500 MW
10000 MW
Size of T/Line
Voltage Level
Projects’ Schedule
IGCEP Merit

## Slide 15: HYDROPOPWER FUTURE
  Around 40,000 MW Non Committed Potential Available
  IGCEP 2020-2047 includes Development of around 45000 MW Potential up to year 2047
  Transmission Expansion Plan (TEP) being Synchronized with IGCEP
  GOP Determined to Develop Indigenous Sources for Electricity Generation
  GOP Committed to Drastically Increase Share of Renewable Sources in Power Mix with
  Hydropower has Capability to Compensate Technical Limitations of Other RE Plants w.r.t. Lower Capacity Factor, Intermittency of Generation and Grid Stability
  Increasing Interest of Investors in Hydropower

## Slide 16: THANKS