## Slide 2
National Transmission & Despatch Company Limited
International Conference on Hydropower Pakistan 2021
Reshaping the Generation Mix: Role of NTDC
Wednesday, 27th October 2021

## Slide 3
  Brief Introduction to NTDC
  Reshaping the Generation Mix: IGCEP 2021-30
  The Way Forward
  Major Challenges for NTDC
  Milestones Achieved
Reshaping the Generation Mix: Role of NTDC
Presentation Sequence

## Slide 4
  Incorporated on 6th Nov 1998 and Operations commenced on 24th December 1998 to:
  Build, operate and maintain the national grid in the most efficient manner;
  Ensure secure, safe and reliable operation of the network; and
  Control and dispatch of generation facilities in the most economical manner
NTDC - Purpose & Mandate
Reshaping the Generation Mix: Role of NTDC

## Slide 5
Contribute in the development of a prosperous Pakistan by managing a stable, reliable and economical transmission and despatch system through professional excellence in terms of team efforts and delivery
Mission Statement
Reshaping the Generation Mix: Role of NTDC

## Slide 6
The Wire Business
Project Development and Execution
Operation & Maintenance of Transmission Assets
Transmission & Generation Planning
Design and Engineering
System Operation and Despatch
Economic Generation & Despatch
Power System Operation and Control
Core Functions
Reshaping the Generation Mix: Role of NTDC

## Slide 7
NTDC: Key Player in Power Sector
Reshaping the Generation Mix: Role of NTDC

## Slide 8
NTDC Transmission Network Statistics
Reshaping the Generation Mix: Role of NTDC

## Slide 9
System Capacity Enhancement Since Sep 2018
Reshaping the Generation Mix: Role of NTDC

## Slide 10
IGCEP 2021-30: Fact Sheet (1)
Pursuant to Grid Code, NTDC is mandated to prepare IGCEP.
  “Each year, the NTDC shall prepare and deliver to NEPRA a Ten-Year “Indicative Generation Capacity Expansion Plan (IGCEP)” covering 0-10 Year timeframe. NTDC shall provide this IGCEP or NTDC Plan.”
A Long Term, Least Cost Generation Plan
Objectives:
  Identify new generation capacity requirements;
  Satisfy the Loss of Load Probability (LOLP) up to 1%;
  Cater for long-term load growth forecast & reserve margins; and
  Provide a least cost generation expansion plan up to 2030
Reshaping the Generation Mix: Role of NTDC

## Slide 11
IGCEP 2021-30: Fact Sheet (2)
An indicative plan to be updated, every year, to accommodate:
a. Technological advancements;
b. Changes in government’s policy; and
c. Progress and Priorities of Project Execution Entities
First ever Long Term, Generation Plan of Pakistan, IGCEP 2021-30 approved by NEPRA on 24th September 2021.
Reshaping the Generation Mix: Role of NTDC

## Slide 12
IGCEP 2021-30: Brief Summary
 | 2025 | 2030
Peak Demand | 29,389 MW | 37,129 MW
Generation | 166,550 GWh | 207,418 GWh
Installed Capacity | 48,521 MW | 61,112 MW
Reshaping the Generation Mix: Role of NTDC

## Slide 13
Long Term Forecast 2020-30
Year | Normal Demand | 
 | Generation | Peak Demand
 | GWh | MW
2020-21* | 130,652 | 23,792
2021-22 | 136,151 | 24,574
2022-23 | 142,563 | 25,779
2023-24 | 159,319 | 28,027
2024-25 | 166,550 | 29,389
2025-26 | 174,102 | 30,814
2026-27 | 181,834 | 32,276
2027-28 | 190,037 | 33,829
2028-29 | 198,622 | 35,457
2029-30 | 207,418 | 37,129
Reshaping the Generation Mix: Role of NTDC

## Slide 14
Indicative Generation Capacity Expansion Plan 2021
IGCEP Generation Schedule 2021-30
Indicative Generation Capacity Additions
(Committed + Candidate Projects)
as of September 2021

## Slide 15
Summary of Generation Mix (MW): Base Case
Generation Source | Year |  | 
 | 2021 | 2025 | 2030
 | Installed Capacity (MW) |  | 
RFO | 6,506 (19%) | 3,506 (8%) | 1,220 (2%)
Imported Coal | 3,960 (11%) | 4,920 (10%) | 4,920 (8%)
RLNG | 5,839 (17%) | 6,958 (14%) | 6,786 (11%)
Cross Border | 0 (0%) | 1000 (2%) | 1000 (2%)
Bagasse | 259 (1%) | 749 (2%) | 749 (1%)
Solar | 400 (1%) | 2,932 (6%) | 7,932 (13%)
Wind | 1,235 (4%) | 3,944 (8%) | 5,005 (8%)
Hydro | 9,698 (28%) | 14,441 (30%) | 23,653 (39%)
Local Coal | 660 (2%) | 3,630 (7%) | 3,630 (6%)
Natural Gas | 3,427 (10%) | 2,807 (6%) | 2,582 (4%)
Nuclear | 2,490 (7%) | 3,635 (7%) | 3,635 (6%)
Total (MW) | 34,475 | 48,521 | 61,112
Reshaping the Generation Mix: Role of NTDC
Notes: Add tables with MWs and %

## Slide 16
Indicative Generation Capacity Expansion Plan 2021
IGCEP Base Case Generation Mix (MW)
 | Hydro |  | Imported Coal |  | Nuclear
 | Solar |  | Local Coal |  | RFO
 | Wind |  | RLNG |  | Cross Border
 | Bagasse |  | Natural Gas |  | 
Chart: 
| Imported Coal | RFO | RLNG | Local Coal | Gas | Nuclear | Baggase | Solar | Wind | HPP | Cross Border
 | 3960 | 6506 | 5839 | 660 | 3427 | 2490 | 259.1 | 400 | 1335.48 | 9698.3 | 0
Chart: 2025
| Imported Coal | RFO | RLNG | Local Coal | Gas | Nuclear | Baggase | Solar | Wind | HPP | Cross Border
 | 4920 | 3506 | 6958 | 3630 | 2807 | 3635 | 748.6 | 2931.52 | 3943.78 | 14441.27 | 1000
Chart: 
| Imported Coal | RFO | RLNG | Local Coal | Gas | Nuclear | Baggase | Solar | Wind | HPP | Cross Border
 | 4920 | 1220 | 6786 | 3630 | 2582 | 3635 | 748.6 | 7931.52 | 5005.27 | 23653.45 | 1000
Notes: Add tables with MWs and %

## Slide 17
IGCEP Base Case Generation Mix (GWh)
 | Hydro |  | Imported Coal |  | Nuclear
 | Solar |  | Local Coal |  | RFO
 | Wind |  | RLNG |  | Cross Border
 | Bagasse |  | Natural Gas |  | 
Chart: 
| Imported Coal | Local Coal | RLNG | Gas | Nuclear | Baggase | Solar | HPP | Cross Border | Wind | RFO
 | 27048.49 | 24185.2 | 2994.34 | 10744.47 | 24877.1 | 3380.26 | 5723.87 | 51097.65 | 3167.64 | 13331.39 | 0
Chart: 
| Imported Coal | Local Coal | RLNG | Gas | Nuclear | Baggase | Solar | HPP | Cross Border | Wind | RFO
 | 27125.69 | 3929.97 | 24088.02 | 19121.67 | 10742.82 | 1035.36 | 613.2 | 39383.53 | 0 | 3584.66 | 1027.07
Chart: 
| Imported Coal | Local Coal | RLNG | Gas | Nuclear | Baggase | Solar | HPP | Cross Border | Wind | RFO
 | 18448.31 | 23145.41 | 685.68 | 5622.72 | 24909.83 | 3380.26 | 15916.13 | 94648.84 | 3435.82 | 17225.3 | 0
Reshaping the Generation Mix: Role of NTDC
Notes: Add tables with MWs and %

## Slide 18
Indigenization of Generation Mix
Indigenization of power generation is set to improve from almost 60% in 2021 to almost 91% in 2030
Chart: 
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Hydro | 39383.53 | 40151.44 | 41731.91 | 47603.52 | 54265.29 | 63703.4 | 68556.22 | 72825.7 | 81585.78 | 98084.66
Renewables | 5233.22 | 6680.24 | 7863.47 | 16231.33 | 22435.52 | 28142.3 | 30406.34 | 32475.86 | 34483.24 | 36521.69
Natural Gas | 19121.67 | 18519.93 | 11837.92 | 11412.33 | 10744.47 | 6924.57 | 6242.95 | 6661.3 | 7087.75 | 5622.72
Furnance Oil | 1027.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Local Coal | 3929.97 | 7941.47 | 21871.16 | 24239.47 | 24185.2 | 24135.01 | 24169.35 | 24256.22 | 24187.7 | 23145.41
Imported Coal | 27125.69 | 25606.17 | 24005.41 | 27208.6 | 27048.49 | 24660.8 | 25735.18 | 26979.87 | 23732.9 | 18448.31
R-LNG | 24088.02 | 16969.06 | 10418.93 | 7972.5 | 2994.34 | 1646.73 | 1831.83 | 2266.63 | 2639.16 | 685.68
Diesel | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nuclear | 10742.82 | 18870.21 | 24834.28 | 24972.02 | 24877.1 | 24889.2 | 24892.12 | 24953.58 | 24905.22 | 24909.83
Self Sufficient Ratio | 0.60015 | 0.68402 | 0.75853 | 0.77962 | 0.81962 | 0.8489 | 0.84839 | 0.84641 | 0.86722 | 0.90775
Reshaping the Generation Mix: Role of NTDC

## Slide 19
The Way Forward
Development of Transmission System Expansion Plan – TSEP (based on IGCEP 2021-30 approved by NEPRA) by May 2022.
Development of IGCEP 2022-31 and its submission to NEPRA by April 15, 2022.
Reshaping the Generation Mix: Role of NTDC

## Slide 20
Delay in commissioning of development projects (RoW, material procurement process, PPRA Rules);
Provincial transmission companies have secured licenses;
Upcoming competitive power market – more expectations from NTDC as the service provider;
Transmission Constraints;
Unprecedented transmission development projects; NTDC is required to almost double its network by 2025;
Regulatory compliance to be further improved as the most responsible regulated entity;
Major Challenges for NTDC
Reshaping the Generation Mix: Role of NTDC

## Slide 21
Major Challenges for NTDC
Divestiture of the dispatch function from NTDC;
Implementation of performance culture ;
Institutional improvements;
Setting up of R&D function;
Revamping of training function at NTDC;
SCADA III (Automatic Generation Control particularly important for RE dispatch); and
ERP Implementation
Reshaping the Generation Mix: Role of NTDC

## Slide 22
Historic Highest Generation Dispatch of 24,562 MW on 12 August 2021 with Stable System.
SCADA Phase-3 project awarded to JV of ABB/CMEC in March 2021.
COD of 660 kV, HVDC T/L (Matiari-Lahore) achieved on 1st Sep-2021
Grid Code Revision (Draft Shared with GCRP on 5th Oct 2021)
CTBCM: Competitive Trading Bilateral Contract Marketing
IGCEP: Indicative Generation Capacity Enhancement Plan approved by Regulator
Deployment of sophisticated software tools like NCP, Plexos, SDDP in NTDC.
Target for T&T losses as per Regulator’s determination has been maintained.
Major Milestones Achieved
Reshaping the Generation Mix: Role of NTDC

## Slide 23
Reshaping the Generation Mix: Role of NTDC
Thanks

## Slide 24
The Generation Mix: Dependable Capacity
Type | Dependable | Percentage Share
 | MW | %age
Total Hydel (Wapda + IPPs) | 9,873 | 29.19%
Gencos Fossil Fuel | 4,014 | 11.87%
IPPs Fossil Fuel | 15,655 | 46.29%
Bagasse | 233 | 0.69%
Nuclear | 2,305 | 6.87%
Solar | 400 | 1.19%
Wind | 1,335 | 3.94%
Total | 33,816 | 100.0%

## Slide 25
The Generation Mix: Dependable Capacity

## Slide 26
The Generation Mix: Must Run Plants Capacity
Type | Capacity | Percentage Share
 | MW | %age
Total Hydel (Wapda + IPPs) | 9,873 | 52.95%
Nuclear | 2305 | 12.36%
Baggase | 233 | 1.25%
Wind | 1,335 | 7.16%
Solar | 400 | 2.17%
RLNG (66%) | 2,332 | 12.51%
Coal (50%) | 2,169 | 11.63%
Total | 18,647 | 100%

## Slide 27
Highest Historical Generation: During Peak Hours
24,562 MW on 12 August 2021 against demand of 26,713 MW | 
Wapda-Hydel | 8,970
GENCOs | 952
IPPs | 14,640
Total | 24,562
24,564 MW on 12 August,2021 @ 22:00 Hours
Highest Historical Generation: Absolute Max

## Slide 28
NTDC Grid Map 2021
Reshaping the Generation Mix: Role of NTDC

## Slide 29
IGCEP Data Sources
Alternate Energy Development Board (AEDB);
Azad Jammu Kashmir Private Power Cell (AJKPPC);
Central Power Purchasing Agency Guarantee Limited (CPPA);
Generation Companies (GENCOs);
Pakhtunkhwa Energy Development Organization (PEDO);
Pakistan Atomic Energy Commission (PAEC);
Private Power Infrastructure Board (PPIB);
Punjab Power Development Board (PPDB);
National Energy Efficiency & Conservation Authority (NEECA)
National Electric Power Regulatory Authority (NEPRA);
National Power Control Centre (NPCC);
Pakistan Bureau of Statistics;
Water and Power Development Authority (WAPDA);
Sindh Energy Department;
Sindh Transmission and Dispatch Company (STDC);
Federal Ministry of Finance, Government of Pakistan;
Energy Department Government of Balochistan;
Water and Power Gilgit Baltistan; and
Pakistan Electric Power Company (PEPCO)
Reshaping the Generation Mix: Role of NTDC

## Slide 30
IGCEP: Process Map
Submission & Approval from NEPRA
Optimization Simulations & Scenarios
Load Forecast
Future Power Plants Data
Assumption Set Approved by CCI
Economic & Financial Parameters
Existing Power Plants Data
Existing Policy Framework
Reshaping the Generation Mix: Role of NTDC