## Slide 1
DR. MUNAWAR IQBAL
DIRECTOR GENERAL (HYDROPOWER)
PRIVATE POWER & INFRASTRUCTURE BOARD (PPIB)
MINISTRY OF ENERGY (POWER DIVISION)
GOVERNMENT OF PAKISTAN
21st December 2022
2nd INTERNATIONAL CONFERENCE ON
HYDROPOWER
PPIB’s Role in Hydropower Development in Pakistan

## Slide 2
PART-I : POWER PROJECT DEVELOPMENT MODES IN PAKISTAN
Power Project Development Modes in Pakistan
Evolution of Power Generation Models in Pakistan
Role of PPIB – A One Window Facilitator
PPIB’s Portfolio
PART-II : HYDROPOWER DEVELOPMENT
HPPs in Private Sector
Hydropower Potential in Pakistan
PPIB’s Portfolio of Hydropower Projects
Hydropower Projects Under CPEC
PPIB’s Initiative and Achievement in HPP Development
PART-III : FUTURE OVERVIEW
IGCEP 2022-2031
Challenges & Way forward
OUTLINE

## Slide 3
PART - I
POWER PROJECT DEVELOPMENT
MODES IN PAKISTAN
Notes: 3
3

## Slide 4
POWER PROJECT DEVELOPMENT
MODES IN PAKISTAN
Public Sector
Private Sector (IPP)
Public Private Partnership (PPP)
WAPDA-Federal Level
PEDO-Khyber Pakhtunkhwa
PPDB-Punjab
PDO-AJ&K
WAPD-Gilgit Baltistan
PPIB-Federal Level
PEDO-Khyber Pakhtunkhwa
PPDB-Punjab
PPC-AJ&K
P3A-Federal Level
PEDO-Khyber Pakhtunkhwa
Notes: 4
4

## Slide 5
EVOLUTION OF POWER GENERATION MODELS IN PAKISTAN
1958 1994 1995 1998 2002 2006 2012 2015 2019 2021
Hydel Policy 1995 with Up-front tariff regime
Power Policy 1994 (Thermal friendly)
Power Policy 1998
Power Policy 2002
Power Policy 2015
National Elect. Policy 2021
Provincial Policies
ARE Policy
CTBCM
Private Sector (PPIB)
PUBLIC SECTOR (WAPDA)
ARE Policy

## Slide 6
PPIB - A ONE WINDOW FACILITATOR
Created in August 1994 as a one-window facilitator on behalf of GOP, its Ministries/ Departments to promote private investments in power sector
Received statutory status on 6th March 2012 through an Act of the Parliament
Coordinates/ Liaisons with local and international multilateral development/ Financial Institutions
Execute IA and issue GOP Guarantee to IPP
POE Members for FS of Provinces
Facilitation Agreements between PPIB and Provinces/AJ&K for
Agent of AJ&K
Issuance of TLOS for provincial/AJ&K projects
Providing technical/legal facilitation to GB for Policy formulation etc.
Notes: 6
6

## Slide 7
IPPs
PPIB
NEPRA
Gas/ Fuel Supplier
LOI/ LOS/ IA
PPA
GSA/ FSA
DIA
GoP
NTDC
Tripartite LOS
CSA: Coal Supply Agreement
GSA: Gas Supply Agreement
PPA: Power Purchase Agreement
IA: Implementation Agreement
DIA: Direct Implementation Agreement
Provincial Govt./ AJ&K
WUA/ CSA
Lenders
IPP MODEL BEING EXECUTED BY PPIB
Financing
Tariff/ Generation Licence
Transmission Licence
OGRA
Fuel Price
EPC/ O&M Contractors
EPC /O&M Contracts
CPPAG
Transmission Line

## Slide 8
Total Installed Capacity 42,057 MW
PUBLIC SECTOR
Hydel 9,389 MW (22%)
Thermal 5,782 MW * (14%)
Nuclear 2,445 MW ( 6%)
Total 17,616 MW (42%)
PRIVATE SECTOR
IPPs (Thermal) 18,208 MW (44%)
IPPs (Hydel) 1,053 MW (2%)
IPPs (RE) 2,601 MW (6%)
KE 2,579 MW (6%)
Total 24,441 MW (58%)
IPPs (RE) includes (Wind 1585MW, Solar 500 MW, Biomass 364MW and SHPP 152 MW )
Data Source: NEPRA, PPIB, NTDC, AEDB, KE
NTDC System Capacity 38,425 MW
TOTAL INSTALLED CAPACITY
2%
22%
Notes: 8
8

## Slide 9
PART- II
HYDROPOWER DEVELOPMENT
Notes: 9
9

## Slide 10
CONCENTRATION OF HYDROPOWER
POTENTIAL
B a l o c h i s t a n
P u n j a b
S i n d h
AJ&K
Gilgit-Baltistan
K. Pakhtunkhwa

## Slide 11
27013 MW
21162 MW
8296 MW
7316 MW
208 MW
5 MW
HYDROPOWER POTENTIAL
Total
=64,000 MW
MW
5000
10000
15000
20000
25000
20000
0
KP
GB
Pb
AJ&K
Sindh
Balochistan

## Slide 12: HYDROPOWER RESOURCES OF PAKISTAN - SUMMARY
Province/ Territory | Projects in Operation (MW) | Projects under Implementation |  |  | Raw Sites Identified Projects (MW) | Solicited Projects (MW) | Total Hydel Resources (MW)
 |  | Public Sector (MW) | Private Sector (MW) |  |  |  | 
 |  |  | Province | Federal |  |  | 
Khyber Pakhtunkhwa | 5789.22 | 12569.56 | 4513.16 | 1514 | 2425.87 | 201 | 27012.81
Gilgit-Baltistan | 169.35 | 11876 | 40 | - | 8543 | 534 | 21162.35
Punjab | 2524.06 | 609.42 | 373.78 | - | 208.87 | 3600 | 7316.13
Azad Jammu and Kashmir | 2370.22 | 215.6 | 208.89 | 3230.08 | 1509 | 762 | 8295.79
Sindh | - | - | 15 | - | 126 | 67 | 208
Balochistan | - | - | - | - | - | 5.2 | 5.2
TOTAL | 10852.85 | 25270.58 | 5150.83 | 4744.08 | 12812.74 | 5169.2 | 64000.28

## Slide 13
Hydropower Potential – River Wise Detail
Chart: 
| Indus | Jhelum | Swat | Kunhar | Punch | others | Kandiah
 | 39717 | 5624 | 1803 | 1480 | 462 | 9704 | 1006
Total
=64,000 MW

## Slide 14
PROCESSING OF HPPs IN PRIVATE SECTOR |  | 
1 | Sponsor Selection | Through Competition
2 | LOI | Feasibility Study (Raw Sites/ FS Updating)
3 | Tariff | NEPRA’s Tariff Determination
4 | LOS or TLOS issuance and FC declaration | Env. NOC, EPCC, Project Agreements, Land Acquisition, Financing Arrangements, Term Sheets, CPs etc. and Financial Closing
5 | COD | Construction, Installation, testing, Commissioning

## Slide 15
Gulpur
TATA PANI
KOTLI Town
102 MW Gulpur HPP
132 MW Rajdhani HPP
130 MW Sehra HPP
MANGLA
PROJECTS ON POONCH RIVER IN AJK
SEHRA 130 MW KOTLI 100 MW GULPUR 102 MW RAJDHANI 132 MW Total= 464 MW
100 MW Kotli HPP
Ban Nullah

## Slide 16
102 MW Gulpur Hydropwer Project
Mobilization in 2015
Completion in 2020
Company : Mira Power Pvt. Limited
Main Sponsor : KOEN From Korea
Capacity : 102 MW

## Slide 17
LOCATION OF HPPs
ON JEHLUM RIVER
Jhelum River
Garhi
Habibullah
Chakothi
Jhelum River
Mangla
Neelum River
1124 MW Kohala
969 MW Neelum Jhelum HPP
PH
Kohala Bridge
Muzaffarabad
Dam
Siran Village
N
Murree
Kunhar River
Hattian Town
17 km
Barsala
640 MW Mahl HPP
700 MW Azad Pattan HPP
720 MW Karot HPP
500 MW Chakothi Hattian HPP
PUNJAB
Khyber Pakhtunkhwa
AJ&K
147 MW Patrind HPP
Mahl River
Karot 720 MW Azad Pattan 700 MW Mahl 640 MW Kohala 1124 MW Chakothi Hattian 500 MW Total= 3664 MW
Notes: 17

## Slide 18
720 MW Karot Hydropwer Project
Company : Karot Power Company Pvt. Limited
Main Sponsor : China Three Gorges from China
Capacity : 720 MW
Commissioned June 2022

## Slide 19
Khyber Pakhtunkhwa
INDIAN OCCUPIED KASHMIR
ATHMUQAM
Kundal Shahi
Dudhnial
Sharda
Nara
Kaghan
Halmat
Toabat
Janawai
Jagran
Panjgran
TITHWAL
Dudhnial HPP
Athmuqam
HPP
Ashkot HPP
NEELUM RIVER
NEELUM RIVER
AJ&K
KUNHAR RIVER
NEELUM VALLEY- MAJOR HYDEL SCHEMES
Legend
N-J HPP
Dudhnial 800 MW Athmuqam 450 MW Ashkot 300 MW N-J 969 MW Total= 2519 MW

## Slide 20
Allai Khwar
Muzaffarabad
Mansehra
102 MW
Batta Kundi HPP
188 MW
Naran HPP
884 MW
Suki Kinari HPP
300 MW
Balakot HPP
Balakot
Naran
Kaghan
Paras
147 MW
Patrind HPP
KUNHAR RIVER IN KP/AJ&K
Bata Kundi 102 MW Naran 188 MW Suki Kinari 884 MW Balakot 300 MW Patrind 147 MW Total= 1621 MW
20

## Slide 21
147 MW Patrind Hydropwer Project
Mobilization in 2013
Completion in 2017
Company : Star Hydro Pvt. Limited
Main Sponsor : K-Water Korea from Korea
Capacity : 147 MW

## Slide 22
884 MW Suki Kinari Hydropwer Project
Current Status = Progress Achieved 85%
Company : SK Hydro Pvt. Limited
Main Sponsor : CGGC-China
Capacity :884 MW

## Slide 23: LOCATION MAP RIVER INDUS TRIBUTARIES
SPATGAH
496 MW
PALAS VALLEY
665MW
Dasu
4000 MW
Duber Khwar 130 MW
Khan Khwar 72 MW
Allai Khwar 121 MW
Besham
Dasu
Chalas
Diamer Basha
4500 MW
Tarbela
KAIGAH 548 MW
Bunji
7100 MW
Yulbo
3000 MW
TANGUS
2100 MW
Jaglot
Gilgit
THAKOT I to III
4900 MW
Patan HPP
665MW

## Slide 24
Kalam Asrit HPP
P=197 MW
H=210 m
Asrit Kedam HPP
P=215 MW
H=214 m
Madain HPP
P=157 MW
H=150 m
Gabral Kalam HPP
P=88 MW
PH
PH
PH
PH
Madain Town
Kalam Town
SWAT VALLEY HPPs

## Slide 26
PPIB’s Current Portfolio of Hydropower Projects (1/2)
Sr. # | Project | Sponsor/ Company | Location | Capacity (MW) | Status
1 | New Bong Escape HPP | Laraib Energy Pvt Ltd | Upper Jhelum River D/s of Mangla Dam, AJK | 84 | Commissioned
2 | Patrind HPP | Star Hydro Pvt Ltd | Kunhar River, Muzaffarabad | 147 | Commissioned
3 | Gulpur HPP | Mira Power Pvt Ltd | Poonch River, Kotli AJK | 102 | Commissioned
4 | Karot HPP | Karot Power Co. Pvt Ltd | Jehlum River, Distt. Rawalpindi, Punjab | 720 | Commissioned
5 | Suki Kinari HPP | S.K Hydro Pvt Ltd | Kunhar River, Mansehra, KP | 884 | Under construction Nov-24
6 | Azad Pattan HPP | Azad Pattan Power (Pvt) Ltd. | Jehlum River, Sudhnoti, AJ&K | 700.7 | LOS issued FC in progress Sep-30
7 | Kohala HPP | Kohala Hydro Company Limited | Jehlum River/ Kohala, AJ&K | 1124 | LOS issued FC in Progress Mar-31

## Slide 27
PPIB’s Current Portfolio of Hydropower Projects (2/2)
Sr. # | Project | Sponsor/ Company | Location | Capacity (MW) | Status
8 | Athmuqam HPP | Korea Hydro and Nuclear Company | Neelum River, AJ&K | 450 | FS Completed. Waiting for inclusion in IGCEP
9 | Turtonas-Uzghor HPP | Sinohydro-Sachal Consortium | Golen Gol River, Chitral Valley KP | 82 | -do-
10 | Mahl HPP | CWE Investment Corporation/ China Three Gorges & Trans Tech Pakistan | Jehlum River AJ&K/ Punjab | 640 | -do-
11 | Ashkot HPP | Ashkot Energy (Pvt) Ltd. | Neelum River, AJ&K | 300 | The Project has been transferred by GoAJK to PPIB for further processing
SMALL HYDROPOWER PROJECTS (Under TLOS Regime) |  |  |  |  | 
16 | Kathai-II Hydropower Project | Kathai-II Hydro (Pvt) Ltd. | Kathai Nullah, Hattian, AJ&K | 8 | LOS issued FC in Progress Aug-26
17 | Riali-II Hydropower Project | Riali Hydro Power Co. | Muzaffarabad AJ&K | 7.08 | LOS issued Under Construction Dec-24
Total |  |  |  | 6508.78 | MW

## Slide 28: HPPs UDDER CPEC REGIME
 | Project | MW | Location | Cost (mill $) | Progress | COD | Status
1 | Karot | 720 | River Jhelum, Punjab | 1698 | 100% | Jun- 22 | Commissioned
2 | Suki Kinari | 884 | Kagan, River Kunhar, KP | 1707 | 85% | Nov-24 | Under construction
3 | Kohala | 1124 | River Jhelum, AJK | 2408 | - | Mar-31 | Under Financial Close
4 | Azad Pattan | 700 | River Jhelum, AJK | 1351 | - | Sep-30 | Under Financial Close
TOTAL HYDEL |  | 3,428 | MW | $7164 M |  |  | 

## Slide 29
HYDROPOWER WORLDWIDE –Installed Capacity
Source: IHA Status Report 2022
Pakistan needs to initiate PSH

## Slide 30
    Pumped Storage
    PPIB is in process of considering for a Cooperation Agreement with a Consultant for identification of suitable potential sites suitable for pumped storage.
    Initially an area of about 300 km x 300 km north of Islamabad is envisaged for the study.
INITIATIVE OF PPIB FOR PUMPED STORAGE HPP
Notes: 30
30

## Slide 31
PPIB’s ACHIEVEMENTS REGARDING HYDROPOWER
Successful Commissioning of 84 MW New Bong HPP (1st Hydro IPP) in Jul - 2013
Successful Commissioning of 147 MW Patrind HPP in Nov- 2017
Successful Commissioning of 102 MW Gulpur HPP in Mar-2020
Successful Commissioning of 720 MW Karot HPP, 29 Jun-2022 (1st CPEC PROJECT)
Development of mechanism for processing of Small Hydropower Projects (SHPPs)
Issuance of Tripartite Letter of Support (TLoS) for 2 SHPPs
Development of Security Package (IA, PPA) for SHPPs
Signing of Tripartite Agreement, Tripartite PPA , GoP IA, GoAJK IA and WUA for 1124 MW Kohala HPP. So far the largest investment of US$ 2.4 Billion in any of the IPPs in Pakistan/AJK.
Signing of Tripartite PPA, Water Use Agreement (Punjab) and GOPIA for 700 MW Azad Pattan HPP.
Contribution in finalization of Draft IGCEP.
Role in Development of CTBCM/ Wholesale Electricity Market in Pakistan
Notes: 31
31

## Slide 32: HYDROPOWER ENTITIES WISE STATUS
Chart: 
| WAPDA | PPIB | PEDO | PPDB | PDO-AJ&K
 | 0 | 8420 | 333 | 165 | 10 | 70
 | 0 | 3300 | 6448 | 4070 | 380 | 386
Development
9389 MW
16573 MW
1053 MW
5506 MW
5690 MW
163 MW
374 MW
373 MW
70 MW
443 MW
374 MW
5852 MW
6559 MW
Operation
25962 MW

## Slide 33
Chart: 
Operation Under Implementation Public Under Implementation Pvt PPP Remaining | 10133 | 25270 | 10614 | 1000 | 16983
Operational
Un-Tapped
POTENTIAL & STATUS OF HYDROPOWER
DEVELOPMENT IN PAKISTAN
TOTAL=64000 MW
------------------------
OPERATION / INSTALLED CAPACITY=10852 MW
National Grid
260 MW Off Grid
Under Process (Public)
Under Process (IPP)
16%
39%
1%
27%
Under Process (PPP)
17%

## Slide 34
Policy | LOI Issued | Dropped | LOS | FC | COD | %Success to Reach COD
1995 | 41 | 39 | 2 | 1 | 1 | 2.4%
2002 | 19 | 10 | 6 | 4 | 3 | 16%
2015 | 4 | - | 2 | - | - | 0%
Major Reasons of Slow Progress
Long Gestation Period
Perception that hydropower is very cheap
Previously low cost of competing fuels
Initially issues with Tariff determinations
Initially un availability of Security Package
Law and Order Situation
Capacity issues
HPPs IMPLEMENTATION SUCCESS RATE IN PRIVATE SECTOR
Numbers
Compelled to be Back Bencher
HPP

## Slide 35
    World Elect. Energy = 27 mill GWh/a
HYDROPOWER Pak Vs. World
WORLD ELECT. ENERGY |  | 
Country | Mill GWh/yr | Rank
China | 9 | 1st
USA | 4.5 | 2nd
India | 1.9 | 3rd
----- | --- | ---
----- | --- | ---
Pakistan | 0.15 | 32nd
WORLD ELECT. ENERGY | 
Coal | 36%
Gas | 22%
Hydel | 16%
Nuclear | 9%
Oil | 3%
Bio | 5%
Wind/Solar | 9%
HYDEL
Pakistan
11 GW
25 %
India
50 GW
13 %
Total Power 42 GW
0.15 Mill GWh
Total Power
≈ 403 GW
Source= NEPRA, PPIB, IGCEP 2022-31, Internet including IHA
Notes: 35
35

## Slide 36
PART –III
FUTURE OVERVIEW
Notes: 36
36

## Slide 37: INDICATIVE GENERATION CAPACITY EXPANSION PLAN (IGCEP) 2022-2031
Indigenization = 49%
Indigenization = 75%
Reference: Draft IGCEP PLAN 2022-2031 under approval by NEPRA

## Slide 38
    Non Celerity about Inclusion of HPP in IGCEP
    Timely interconnection of projects to meet the COD deadlines
    Financing Issues- Circular Debt , Location in AJ&K
    Approx. 20000 MW Hydropower in Chitral KP, GB and AJK regions awaiting Power Evacuation Commitments
    Non-existence of Power Regulatory regime in Gilgit-Baltistan
    Shift of Market Regime-Behaviour unknown
    Land Acquisition Issues
    Socio-Environmental Challenges
    Lack of synergy among different stakeholders
KEY CHALLENGES TO HPPs PLAYERS
Notes: 38
38

## Slide 39
WAY FORWARD
    Reduce system losses & leakages
    Enhance least cost based power generation
    Integrated Generation and Transmission
    Regional Trade of Electricity
    Overcome intermittency of Wind & Solar plants with Hydropower including PSH
    HPPs provide approx. 75% FDI circulation in local economy and WUC for regional dev.
    Make HPPs tariff competitive vs other REs by clubbing solar at HPP sites

## Slide 40
THANK YOU
https://www.ppib.gov.pk/publications/hydel_resources.pdf